## Slide 1: Samad, Guandong, and Tyler
Brain Stimulator Progress Update

## Slide 2: Problem Description
Make a device that can generate waveforms of precise frequency and current to stimulate deep parts of the brain using electrodes.

## Slide 3: Key Events from Last Week
Continued testing with MCU
Looked at pinout
Got DDS samples
Continued schematic creation

## Slide 4: MCU Pinout
Don’t need many operations outside of communicating with peripherals.

## Slide 5: Working Current Source
Need to figure out better op amps for higher load
Max load resistance right now is around 725Ohms

## Slide 6: DDS Module

## Slide 7: DDS Module

## Slide 8: Schematic Updates

## Slide 9: ADC
Need isolation for safety
Should be able to communicate with MCU directly

## Slide 10: Plans for Isolation
Use isolated amplifier through a transformer
Read output current and use a control loop to monitor and adjust output

## Slide 11: Plans for Battery
Calculate required amp hours to narrow search
Find something with integrated BMS

## Slide 12: Challenges so far
Height limit with isolation transformers
Current source circuitry

## Slide 13: Immediate Plan
Continue schematic and symbol creation
Find battery for device
Find components for Jim Williams source that handle high voltage and simulate
Determine board measurements for housing

## Slide 14: Questions/Feedback