## Slide 1: Samad, Guandong, and Tyler
Brain Stimulator Progress Update

## Slide 2: Problem Description
Make a device that can generate waveforms of precise frequency and current to stimulate deep parts of the brain using electrodes.

## Slide 3: Key Events from Last Week
Bluetooth connectivity with between rpi and web app
App layout and backend
Programmable gain amplifier schematic creation
Continued battery search
Power calculations

## Slide 4: Programmable Gain Amplifier
On output of DDS to buffer up to 5V domain from 1V8 domain.
Will this be able to switch on the fly? May need to be constant / amplitude specific

## Slide 5: Programmable Gain Amplifier
On output of DDS to buffer up to 5V domain from 1V8 domain.
Will this be able to switch on the fly? May need to be constant / amplitude specific

## Slide 6: PGA Tour (Routing)

## Slide 7: Bluetooth Connection to the MCU (Raspberry pi Pico W)
Helpers for generating BLE advertising payloads
Creates a simple BLE peripheral
https://electrocredible.com/raspberry-pi-pico-w-bluetooth-ble-micropython/
Save two MicroPython modules in our RPi Pico to communicate via Bluetooth Low Energy

## Slide 8: SPI Testing with The Raspberry PI
Next, we need to test it with DDS directly
This simulates writing to a function register in the DDS
Waveform caught by oscilloscope

## Slide 9: Web App
Choosing browser based for best portability
Using webbluetooth with JS
Need room to expand easily to more channels

## Slide 10: Web App
Enable/disable on outputs
Beat frequency calculation
Non-volatile programming capable (How to modify code? Constant address?)

## Slide 11: Web App Continued
(I <3 CSS)

## Slide 12: Web App Backend

## Slide 13: Writes to two channels

## Slide 14: RPI Backend

## Slide 15: Plans for Battery
Calculate required amp hours to narrow search
Find something with integrated BMS
Use dimensions to make housing and board dimensions

## Slide 16: Simulation

## Slide 17: DC-DC Converter

## Slide 18: DDS Test Board
For SPI and programming

## Slide 19: Challenges so far
Height limit with isolation transformers
Amplifier sourcing/creation
Web app connection
DDS Verificaiton

## Slide 20: Immediate Plan
Continue schematic and symbol creation
Find battery for device
Determine board measurements for housing
Code pairing and app integration
DDS Verification / DDS Breakout Board assembly

## Slide 21: Questions/Feedback