## Slide 1: Samad, Guandong, and Tyler
Brain Stimulator Progress Update

## Slide 2: Problem Description
Make a device that can generate waveforms of precise frequency and current to stimulate deep parts of the brain using electrodes.

## Slide 3: Key Events from Last Week
Got flyback and iso-adc breakout boards
Made final amplifier stages
Made voltage controlled current source circuitry
Did first pass final board placement

## Slide 4: Schematic Updates

## Slide 5: Schematic Updates Continued

## Slide 6: Kill Switch
Cut off 12V enable because otherwise the switching regulators will be on and incur losses
Comes at the price of powering down MCU
Soft kill is currently done through software. Ideally will add button but need to find space.

## Slide 7: Switch from Audio Jack to BNC
More robust
Downside is size

## Slide 8: Schematic Updates Continued

## Slide 9: Current Source Simulation

## Slide 10: Current Source
Use a midpoint offset to turn 0-5 V sine wave into a -5-5 mA current source
Tight tolerance resistor which has the voltage across it controlled such that current is known

## Slide 11: Voltage Controlled Attenuator Simulation

## Slide 12: Voltage Controlled Attenuator
After initial amplification the sine wave will be max 0-5V constant sine wave, so need amplitude control
Step down instead of up. Apply a negative voltage to the gate of a JFET to control linear region resistance of the device
Use JFETs in voltage divider to step down voltage swing

## Slide 13: Schematic Updates Continued

## Slide 14: Schematic Updates Continued

## Slide 15: ADC Breakout board Layout

## Slide 16: Assembled ADC and DC-DC Breakout Board

## Slide 17: ADC testing
Possibly no clock signal, needs more testing

## Slide 18: Flyback Converter
Get +/-30 V rails
Incur some losses from two switching converters, almost unavoidable
Feed into final amplifier stage

## Slide 19: Flyback Breakout

## Slide 20: Final Board Placement

## Slide 21: Other Components

## Slide 22: Programming interface for the ADC

## Slide 23: Budget
Current Expenses :
DDS Test Board: $33
Component Order: $140
Battery Order: $44
Total: $217

## Slide 24: Challenges so far
Choosing Connector
Board sizing
Power supply

## Slide 25: Immediate Plan
Get MCU pinout
Route board and order by Friday
Test subsections before board order
Get BOM together

## Slide 26: Questions/Feedback