## Slide 1: Samad, Guandong, and Tyler
Brain Stimulator Progress Update

## Slide 2: Problem Description
Make a device that can generate waveforms of precise frequency and current to stimulate deep parts of the brain using electrodes.

## Slide 3: Key Events from Last Week
Bluetooth connectivity with between rpi and web app
Continued battery search
Work on web app – attempted SPI transfers
New LDO and routing everything to output transformer

## Slide 4: Bluetooth Connection to the MCU (Raspberry pi Pico W)
Helpers for generating BLE advertising payloads
Creates a simple BLE peripheral
https://electrocredible.com/raspberry-pi-pico-w-bluetooth-ble-micropython/
Save two MicroPython modules in our RPi Pico to communicate via Bluetooth Low Energy

## Slide 5: SPI Testing with The Raspberry PI
Next, we need to test it with DDS directly
This simulates writing to a function register in the DDS
Waveform caught by oscilloscope

## Slide 6: Web App
Choosing browser based for best portability
Using webbluetooth with JS
Need room to expand easily to more channels

## Slide 7: Web App
Enable/disable on outputs
Beat frequency calculation
Non-volatile programming capable (How to modify code? Constant address?)

## Slide 8: Web App Continued
(I <3 CSS)

## Slide 9: Web App Backend

## Slide 10: Writes to two channels

## Slide 11: RPI Backend

## Slide 12: Flash memory to store last used frequencies

## Slide 13: Plans for Battery
Calculate required amp hours to narrow search
Find something with integrated BMS
Use dimensions to make housing and board dimensions

## Slide 14: Simulation

## Slide 15: DC-DC Converter

## Slide 16: Schematic Updates

## Slide 17: Schematic Updates Continued

## Slide 18: DDS Test Board
For SPI and programming – Doesn’t blow up!

## Slide 19: ADC Breakout board
Needs to be ordered and tested

## Slide 20: DDS Board Testing
Connected DDS to RPI and attempted to initiate SPI transactions. Have so far been unable to see the transactions output on the designated SPI lines. Have not diagnosed the problem.

## Slide 21: Challenges so far
Height limit with isolation transformers
Amplifier sourcing/creation
DDS Verificaiton

## Slide 22: Immediate Plan
Continue schematic and symbol creation
Find battery for device
Determine board measurements for housing
DDS Validation

## Slide 23: Questions/Feedback